## slika9
ScanSize: 1.26e-05
FastScanSize: 1.26e-05
SlowScanSize: 1.26e-05
ScanRate: 0.89799
XOffset: -1.4682e-05
YOffset: 9.944e-06
PointsLines: 256
ScanPoints: 256
ScanLines: 256
ScanAngle: 0
ImagingMode:PFM Mode
InvOLS: 1e-07
SpringConstant: 1
AmpInvOLS: 1.09e-07
FastRatio: 1
SlowRatio: 1
TopLine: 255
BottomLine: 0
ScanMode:Closed Loop
NapMode:Parm Swap
FMapScanTime: 4.6592
FMapScanPoints: 128
FMapScanLines: 128
FMapXYVelocity: 6.2988e-06
FMapBookWise: 0
Channel1DataType: 1
DataTypeSum: 15
PhaseOffset:37.5568224695453
PhaseOffset1:0
NapPhaseOffset: 48.04
VoltageParm: 0
NapParms: 2432
PreScanSetting: 0
OrcaOffset: 0
OrcaOffset2: 0
UserIn0Gain: 1
UserIn0Offset: 0
UserIn1Gain: 1
UserIn1Offset: 0
UserIn2Gain: 1
UserIn2Offset: 0
LateralGain: 1
LateralOffset: 0
Real Parms: End
Initial Parms: Start
Initial ScanSize: 1.26e-05
Initial FastScanSize: 1.26e-05
Initial SlowScanSize: 1.26e-05
Initial ScanRate: 0.89799
ScanSpeed: 2.8287e-05
Initial XOffset: -1.4682e-05
Initial YOffset: 9.944e-06
Initial ScanPoints: 256
Initial ScanLines: 256
RoundFactor: 0.04
IntegralGain: 10
ProportionalGain: 0
Initial ScanAngle: 0
ScanAngleFactor: 1
AmplitudeSetpointVolts: 0.8
AmplitudeSetpointMeters: 1e-08
DriveAmplitude: 10
DriveFrequency: 3.4165e+05
SweepWidth: 1e+05
SlowScanEnabled: 1
DeflectionSetpointVolts: 0
DeflectionSetpointMeters: 0
DeflectionSetpointNewtons: 5e-09
Initial ImagingMode: 3
MaxScanSize: 9e-05
Initial InvOLS: 1e-07
Initial SpringConstant: 1
DisplaySpringConstant: 1e-09
ScanStateChanged: 0
ScanDown: 0
XLVDTSens: 7.7314e-06
YLVDTSens: 8.086e-06
ZLVDTSens: 1.3005e-06
XLVDTOffset: -0.21
YLVDTOffset: -0.43
ZLVDTOffset: 0
YIgain: 3.81
YPgain: -inf
XIgain: 3.74
XPgain: -inf
LastScan: 0
XPiezoSens: 4.7221e-07
YPiezoSens: 4.7843e-07
ZPiezoSens: 6.5785e-08
XDriveOffset: 0
YDriveOffset: 0
SweepPoints: 480
SecretGain: 0
YSgain: 5.8031
XSgain: 5.8031
DIsplayLVDTTraces: 0
Initial PhaseOffset: 37.557
BaseSuffix: 9
SaveImage: 2
ParmChange: 1
ADCgain: 0
OldADCgain: 12
OldScanSize: NaN
OldYOffset: 9.944e-06
OldXOffset: -1.4682e-05
ZIgain: 4.26
ZPgain: -inf
ZSgain: 0
Initial AmpInvOLS: 1.09e-07
UpdateCounter: 106
DoMunge: 0
XMungeAlpha: 1
YMungeAlpha: 1
ZMungeAlpha: 1
StartHeadTemp: 30.812 °C
StartScannerTemp: 26.312 °C
Has1xACDeflGain: 0
DontChangeXPT: 0
LowNoise: 1
ScreenRatio: 0.75
XDriftRate: 0
YDriftRate: 0
XDriftTotal: 0
YDriftTotal: 0
DriftBIts: 0
DriftCount: 0
Setpoint: 0
Initial FastRatio: 1
Initial SlowRatio: 1
Initial TopLine: 255
Initial BottomLine: 0
ScanStatus: 2
Is1DPlus: 0
DelayUpdate: 0
MarkerRatio: 0
StartLineCount: 0
OldAmplitudeSetpointVolts: 0.8
OldDeflectionSetPointVolts: 0
Initial ScanMode: 0
Interpolate: -1248
TipVoltage: 0
SurfaceVoltage: 0
FreqIgain: 5
FreqPgain: 0
FreqSgain: 0
OrcaGain: NaN
FreqGainOn: 0
Initial UserIn0Gain: 1
Initial UserIn1Gain: 1
Initial UserIn2Gain: 1
Initial LateralGain: 1
IsBipolar: 0
FrequencyHack: 0
MagneticField: NaN
DriveGainOn: 0
DriveIGain: 50
DrivePGain: 0
DriveSGain: 0
Initial UserIn0Offset: 0
Initial UserIn1Offset: 0
Initial UserIn2Offset: 0
Initial LateralOffset: 0
LastImage: 0
ZoomSize: 0
ZoomXOffset: -1.4682e-05
ZoomYOffset: 9.944e-06
User0Voltage: 0
User1Voltage: 0
ExtendedZ: 0
DriveAmplitude1: 0.1
DriveFrequency1: 4.5e+05
SweepWidth1: 5000
Initial PhaseOffset1: 0
Amp2InvOLS: 2e-08
Initial VoltageParm: 0
MicroscopeID: 3
CapacitanceSens: 1
CapacitanceOffset: 0
CapPhaseOffset: 0
TipBiasOffset: 0
TipHeaterOffset: 0
SurfaceBiasOffset: 0
UseCantHolder: 0
CurrentCantHolder: 21
HasClickRing: 1
XScanDirection: 1
YScanDirection: 1
SaveImageCount: 0
SaveImageLines: 256
OrcaGain2: NaN
UpdateSlowWave: 0
FBFilterBW: 5000
CurrentSetpointAmps: 1
CurrentSetpointVolts: 1
OldCurrentSetpointVolts: 1
OldCurrentSetpointAmps: 1
HasFM: 1
LastScanWithdraw: 0
HasLaserRelay: 1
ToggleLaserRelay: 0
Decimation: 87
DARTIGain: 5.5
DARTPGain: 0
SampleHolder: 1
ManualSampleHolder: 0
CypherXPTLock: 0
XPTLock: 0
LogFeedback: 0
ARSysScanBusy: 0
SimpleControls: 0
Initial PointsLines: 256
FreeAirAmplitude: NaN
FreeAirPhase: NaN
FreeAirDeflection: -1.0104
FreeAirDriveAmplitude: 0
ContinualRetune: 0
ForceFilter: 0
TemperatureSens: 1
TemperatureOffset: 0
OffsetBehavior: 0
InputRange: 1
XLVDTSensSlope: 0
YLVDTSensSlope: 0
XLVDTSensIntercept: 0
YLVDTSensIntercept: 0
HaveWeKilledTheProgressBar: 1
Initial PreScanSetting: 0
ImageFrameTime: 0
FBFilterSelectivity: 1
HasDriveChoke: 0
DriveChokeOn: 0
CFCWFOS: 0
SkewAngle: 0
ContinualRetuneTime: 60
DRTimeStamp: 0
CRTimeStamp: 0
Cypher15VPower: 0
HasBlueDrive: 0
BlueDriveOn: 0
blueDriveOffset: 5
blueDriveMinOffset: 3
bDDriveAmplitude: 0.002
bDDriveAmplitude1: 0.002
bDDiffEfficiencyV: 0.004475
bdReCalibrateTime: 1
GetStartedRoughness: 3
GetStartedOn: 0
bdMotorError: 0
ScanModeGUI: 0
FastMapScanPoints: 256
FastMapScanLines: 256
FastMapOptScanPoints: 256
FastMapOptScanLines: 256
GSGainGain: 1
GSSetpointPercent: 50
GSHardness: 0
GSLeverRange: 0
GetStartedMorePanel: 0
GSUseManualThermal: 0
ImageSaveExpand: 0
FreqDGain: 0
DriveDGain: 0
GSMotorHeight: 0
GSStickySample: 0
LastThreadHandle: 239
StartHeaterTemp:NaN °C
StartHeaterHumidity:NaN
MicroscopeModel:MFP3D
Initial Parms: End
NapIntegralGain: 10
NapProportionalGain: 0
NapDeflectionSetpointVolts: 0
NapAmplitudeSetpointVolts: 0.8
NapDissipationSetpointVolts: 0.2
NapFrequencySetPointHz: 0
NapCurrentSetpointAmps: 1
NapDriveAmplitude: 10
NapDriveFrequency: 3.4165e+05
NapDriveAmplitude1: 0
NapDriveFrequency1: 4.2e+05
NapPhaseOffset: 48.04
NapTipVoltage: 0
NapSurfaceVoltage: 0
NapUser0Voltage: 0
NapUser1Voltage: 0
NapHeight: 5e-08
NapStartHeight: 0
NapTime: 0.10016
NapMode: 2
NapParms: 2432
PotentialIGain: 3
PotentialPGain: 0
PotentialGainOn: 0
ElectricTune: 0
NapCurrentSetpointVolts: 1
PotentialLoopLimit: 0
ClosedNap: 0
NapZIGain: 10
NapZPGain: 0
AutoNapZGain: 1
bDNapDriveAmplitude: 0.002
bDNapDriveAmplitude1: 0.002
Channel1DataType: 1
Channel2DataType: 2
Channel3DataType: 4
Channel4DataType: 3
Channel5DataType: 0
Channel6DataType: 0
Channel7DataType: 0
Channel8DataType: 0
DataTypeSum: 15
Channel1Show: 2
Channel2Show: 2
Channel3Show: 2
Channel4Show: 2
Channel5Show: 2
Channel6Show: 2
ChannelShowSum: 7
RealPlanefit: 2
SavePlanefit: 0
HeightCapture: 2
Height1DataScale: 3.3e-08
Height1DataOffset: -0
Height1RealPlanefit: 2
Height1SavePlanefit: 4
Height1ColorMap: 9
Height2DataScale: 5e-08
Height2DataOffset: 0
Height2RealPlanefit: 2
Height2SavePlanefit: 2
Height2ColorMap: 1
DeflectionCapture: 2
Deflection1DataScale: 1.6e-09
Deflection1DataOffset: -0
Deflection1RealPlanefit: 1
Deflection1SavePlanefit: 0
Deflection1ColorMap: 1
Deflection2DataScale: 1e-08
Deflection2DataOffset: 0
Deflection2RealPlanefit: 2
Deflection2SavePlanefit: 2
Deflection2ColorMap: 1
AmplitudeCapture: 2
Amplitude1DataScale: 5.7e-10
Amplitude1DataOffset: 0
Amplitude1RealPlanefit: 1
Amplitude1SavePlanefit: 0
Amplitude1ColorMap: 9
Amplitude2DataScale: 2e-08
Amplitude2DataOffset: 0
Amplitude2RealPlanefit: 1
Amplitude2SavePlanefit: 2
Amplitude2ColorMap: 1
ZSensorCapture: 2
ZSensor1DataScale: 1e-07
ZSensor1DataOffset: 0
ZSensor1RealPlanefit: 4
ZSensor1SavePlanefit: 2
ZSensor1ColorMap: 1
ZSensor2DataScale: 60
ZSensor2DataOffset: 0
ZSensor2RealPlanefit: 2
ZSensor2SavePlanefit: 2
ZSensor2ColorMap: 1
PhaseCapture: 2
Phase1DataScale: 198
Phase1DataOffset: 10
Phase1RealPlanefit: 0
Phase1SavePlanefit: 0
Phase1ColorMap: 29
Phase2DataScale: 60
Phase2DataOffset: 0
Phase2RealPlanefit: 2
Phase2SavePlanefit: 2
Phase2ColorMap: 1
OffCapture: 2
Off1DataScale: 1
Off1DataOffset: 0
Off1RealPlanefit: 2
Off1SavePlanefit: 2
Off1ColorMap: 9
Off2DataScale: 0
Off2DataOffset: 0
Off2ColorMap: 1
UserIn1Capture: 2
UserIn11DataScale: 1
UserIn11DataOffset: 0
UserIn11RealPlanefit: 0
UserIn11SavePlanefit: 0
UserIn11ColorMap: 1
UserIn12DataScale: 1
UserIn12DataOffset: 0
UserIn12RealPlanefit: 2
UserIn12SavePlanefit: 2
UserIn12ColorMap: 1
UserIn2Capture: 2
UserIn21DataScale: 1
UserIn21DataOffset: 0
UserIn21RealPlanefit: 0
UserIn21SavePlanefit: 0
UserIn21ColorMap: 1
UserIn22DataScale: 1
UserIn22DataOffset: 0
UserIn22RealPlanefit: 2
UserIn22SavePlanefit: 2
UserIn22ColorMap: 1
UserIn0Capture: 2
UserIn01DataScale: 1
UserIn01DataOffset: 0
UserIn01RealPlanefit: 0
UserIn01SavePlanefit: 0
UserIn01ColorMap: 1
UserIn02DataScale: 1
UserIn02DataOffset: 0
UserIn02RealPlanefit: 2
UserIn02SavePlanefit: 2
UserIn02ColorMap: 1
InputICapture: 2
InputI1DataScale: 1
InputI1DataOffset: 0
InputI1RealPlanefit: 0
InputI1SavePlanefit: 0
InputI1ColorMap: 1
InputI2DataScale: 1
InputI2DataOffset: 0
InputI2RealPlanefit: 2
InputI2SavePlanefit: 2
InputI2ColorMap: 1
InputQCapture: 2
InputQ1DataScale: 1
InputQ1DataOffset: 0
InputQ1RealPlanefit: 0
InputQ1SavePlanefit: 0
InputQ1ColorMap: 1
InputQ2DataScale: 1
InputQ2DataOffset: 0
InputQ2RealPlanefit: 2
InputQ2SavePlanefit: 2
InputQ2ColorMap: 1
LateralCapture: 2
Lateral1DataScale: 0.01
Lateral1DataOffset: 0
Lateral1RealPlanefit: 1
Lateral1SavePlanefit: 0
Lateral1ColorMap: 1
Lateral2DataScale: 1
Lateral2DataOffset: 0
Lateral2RealPlanefit: 2
Lateral2SavePlanefit: 2
Lateral2ColorMap: 1
FrequencyCapture: 0
Frequency1DataScale: 1
Frequency1DataOffset: 0
Frequency1RealPlanefit: 0
Frequency1SavePlanefit: 0
Frequency1ColorMap: 1
Frequency2DataScale: 1
Frequency2DataOffset: 0
Frequency2RealPlanefit: 2
Frequency2SavePlanefit: 2
Frequency2ColorMap: 1
CurrentCapture: 2
Current1DataScale: 1e-09
Current1DataOffset: 0
Current1RealPlanefit: 0
Current1SavePlanefit: 0
Current1ColorMap: 1
Current2DataScale: 1e-09
Current2DataOffset: 0
Current2RealPlanefit: 2
Current2SavePlanefit: 2
Current2ColorMap: 1
Current2Capture: 2
Current21DataScale: 1e-06
Current21DataOffset: 0
Current21RealPlanefit: 0
Current21SavePlanefit: 0
Current21ColorMap: 1
Current22DataScale: 1e-06
Current22DataOffset: 0
Current22RealPlanefit: 0
Current22SavePlanefit: 0
Current22ColorMap: 1
UserCalcCapture: 2
UserCalc1DataScale: 1
UserCalc1DataOffset: 0
UserCalc1RealPlanefit: 0
UserCalc1SavePlanefit: 0
UserCalc1ColorMap: 1
UserCalc2DataScale: 1
UserCalc2DataOffset: 0
UserCalc2RealPlanefit: 2
UserCalc2SavePlanefit: 2
UserCalc2ColorMap: 1
CountCapture: 2
Count1DataScale: 1
Count1DataOffset: 0
Count1RealPlanefit: 0
Count1SavePlanefit: 0
Count1ColorMap: 1
Count2DataScale: 1
Count2DataOffset: 0
Count2RealPlanefit: 2
Count2SavePlanefit: 2
Count2ColorMap: 1
PotentialCapture: 0
Potential1DataScale: 1
Potential1DataOffset: 0
Potential1RealPlanefit: 0
Potential1SavePlanefit: 0
Potential1ColorMap: 1
Potential2DataScale: 1
Potential2DataOffset: 0
Potential2RealPlanefit: 2
Potential2SavePlanefit: 2
Potential2ColorMap: 1
Amplitude1Capture: 2
Amplitude11DataScale: 2e-08
Amplitude11DataOffset: 0
Amplitude11RealPlanefit: 1
Amplitude11SavePlanefit: 0
Amplitude11ColorMap: 9
Amplitude12DataScale: 2e-08
Amplitude12DataOffset: 0
Amplitude12RealPlanefit: 1
Amplitude12SavePlanefit: 2
Amplitude12ColorMap: 1
Amplitude2Capture: 2
Amplitude21DataScale: 2e-08
Amplitude21DataOffset: 0
Amplitude21RealPlanefit: 1
Amplitude21SavePlanefit: 0
Amplitude21ColorMap: 9
Amplitude22DataScale: 2e-08
Amplitude22DataOffset: 0
Amplitude22RealPlanefit: 1
Amplitude22SavePlanefit: 2
Amplitude22ColorMap: 1
Phase1Capture: 2
Phase11DataScale: 60
Phase11DataOffset: 90
Phase11RealPlanefit: 0
Phase11SavePlanefit: 0
Phase11ColorMap: 9
Phase12DataScale: 60
Phase12DataOffset: 0
Phase12RealPlanefit: 2
Phase12SavePlanefit: 2
Phase12ColorMap: 1
Phase2Capture: 2
Phase21DataScale: 60
Phase21DataOffset: 90
Phase21RealPlanefit: 0
Phase21SavePlanefit: 0
Phase21ColorMap: 9
Phase22DataScale: 60
Phase22DataOffset: 0
Phase22RealPlanefit: 2
Phase22SavePlanefit: 2
Phase22ColorMap: 1
Channel1Scope: 3
Channel2Scope: 3
Channel3Scope: 3
Channel4Scope: 3
Channel5Scope: 3
Channel6Scope: 3
Channel7Scope: 3
Channel8Scope: 3
Channel1Auto: 1
Channel2Auto: 1
Channel3Auto: 1
Channel4Auto: 1
Channel5Auto: 1
Channel6Auto: 1
Channel7Auto: 1
Channel8Auto: 1
Channel1AutoImg: NaN
Channel2AutoImg: NaN
Channel3AutoImg: NaN
Channel4AutoImg: NaN
Channel5AutoImg: 1
Channel6AutoImg: 1
Channel7AutoImg: 1
Channel8AutoImg: 1
UserCalcFunc: 2
UserCalcBFunc: 3
DissipationCapture: 2
Dissipation1DataScale: 0.1
Dissipation1DataOffset: 0
Dissipation1RealPlanefit: 1
Dissipation1SavePlanefit: 0
Dissipation1ColorMap: 1
Dissipation2DataScale: 1
Dissipation2DataOffset: 0
Dissipation2RealPlanefit: 2
Dissipation2SavePlanefit: 2
Dissipation2ColorMap: 1
FixOffset: 0
UserCalcBCapture: 2
UserCalcB1DataScale: 1e-09
UserCalcB1DataOffset: 0
UserCalcB1RealPlaneFit: 0
UserCalcB1SavePlaneFit: 0
UserCalcB1ColorMap: 9
Count2Capture: 2
Count21DataScale: 5
Count21DataOffset: 0
Count21RealPlaneFit: 0
Count21SavePlaneFit: 0
Count21ColorMap: 9
InA: FilterOut
InB: Ground
InFast: ACDefl
InAOffset: Ground
InBOffset: Ground
InFastOffset: Ground
OutXMod: Off
OutYMod: Off
OutZMod: Off
FilterIn: Defl
BNCOut0: DDS
BNCOut1: Ground
BNCOut2: Ground
PogoOut: Ground
Chip: Ground
Shake: Ground
Input.Z.Filter.Freq: 2000
Input.X.Filter.Freq: 1000
Input.Y.Filter.Freq: 1000
Input.A.Filter.Freq: 2000
Input.B.Filter.Freq: 2000
Input.Fast.Filter.Freq: 1500
Lockin.0.Filter.Freq: 1000
Lockin.1.Filter.Freq: 1000
ThermalDC: 1e-14
ThermalQ: 20
ThermalFrequency: 3e+05
ThermalWhiteNoise: 5e-15
ScaleLog: 3
FitWidth: 20000
ThermalSamples: 1000
ThermalCounter: 0
SectionSamples: 10
SectionCounter: 0
DoThermal: 0
ThermalResolution: 4
ThermalZoom: 0
DoCantTune: 0
ZoomCounter: 200
AutoTuneLow: 50000
AutoTuneHigh: 4e+05
TargetVoltage: 1
TargetPercent: 0
CheckTuneTraces: 0
ButtonTime: 1.0155e+09
ShowThermalFit: 0
AppendThermalBit: 8
TuneQ: 100
TuneGain: 0
TunePeakResult: 0.04056
TuneFreqResult: 3.4207e+05
TuneQResult: 87.236
ThermalSamplesLimit: 0
TuneFeedback: 0
TuneDDSOutput: 0
TipVoltCenter: 0
TipVoltWidth: 10
ThermalFrequencyRange: 1
AutoTuneLimit: 0
AutoTuneLow1: 1.5e+06
AutoTuneHigh1: 2e+06
TargetVoltage1: 0.1
TargetPercent1: 0
DualACMode: 0
WhichACMode: 0
BackwardsTune: 0
TuneCaptureRate: 500
TuneTime: 0.96
TuneFilter: 500
iDriveOn: 0
FrequencyRatio: 1.3171
DFRTFrequencyCenter: 3.9582e+05
DFRTFrequencyWidth: 1.0835e+05
DFRTOn: 0
ThermalCenter: 3e+05
ThermalWidth: 30000
DFWMAMT: 0
LastXPos: 0
LastYPos: 0
PFMFrequencyLimit: inf
TuneLockin: 0
TipHeaterDrive: 0
AdjustSpringConstant: 1
DrawThermalFit: 0
LateralTune: 0
ThermalTemperature: 298
UseCypherThermal: 0
UseCypherMultiThread: 0
Illumination: 0
ARCZ: 1
TuneAngle: -90
IsDefaultFrequency: 0
TargetAmplitude: 0
TargetPhase: 90
LossTanAmp1: 0.039658
LossTanPhase1: 62.199
LossTanAmp2: 0.024235
LossTanPhase2: 72.724
LossTanFreq1: 3.4165e+05
LossTanFreq2: 0
LossTanQ1: 87.236
LossTanQ2: 0
SecondFrequency: 0
TryFitAgain: 0
HighFrequencyMode: 0
ThermalLever: 0
DoSader: 0
CustomLeverLength: 0.00024
CustomLeverWidth: 3e-05
CustomLeverFrequency: 70000
ResFreq1: 0
ResFreq2: 0
YourVariablesStartHere: 0
Log File:Start
Log File:Stop
Date:2015-01-07
Time:13:17:28
Seconds:3503481448.328
UserCalcUnit: °
UserIn0Unit: V
UserIn1Unit: V
UserIn2Unit: V
LateralUnit: V
ARUserPanelName:
UserIn0Name:
UserIn1Name:
UserIn2Name:
UserCalcName:
UserIn0Ab:
UserIn1Ab:
UserIn2Ab:
UserCalcAb:
UserIn0Force:
UserIn1Force:
UserIn2Force:
UserCalcForce:
SaveImage: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:7.1.2015:
SaveForce: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:7.1.2015:
LastSaveImage: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:7.1.2015:
LastSaveForce: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:7.1.2015:
NavLoadPath:
LastNavLoadPath:
UserCalcBUnit:
UserCalcBName:
UserCalcBForce:
UserCalcBAb:
DetectorSum: Head.Laser.Sum
XSensor: Input.X
YSensor: Input.Y
ZSensor: Input.Z
DDSAmplitude0: $Lockin.0.Amp
DDSDCOffset0: $Lockin.DCOffset
DDSFrequency0: $Lockin.0.Freq
DDSFrequencyOffset0: $Lockin.0.FreqOffset
DDSPhaseOffset0: $Lockin.0.PhaseOffset
DDSAmplitude1: $Lockin.1.Amp
DDSFrequency1: $Lockin.1.Freq
DDSPhaseOffset1: $Lockin.1.PhaseOffset
Amplitude: $Lockin.0.r
Phase: $Lockin.0.theta
Inputi: $Lockin.0.i
Inputq: $Lockin.0.q
Inputi1: $Lockin.1.i
Inputq1: $Lockin.1.q
Count: Input.Counter0
Count2: Input.Counter1
Potential: $DDSDCOffset0
Amplitude1: $Lockin.1.r
Phase1: $Lockin.1.theta
DDSQGain0: $Lockin.0.QGain
DDSQAngle0: $Lockin.0.QAngle
DDSFrequencyOffset1: $Lockin.1.FreqOffset
Deflection: Input.A
Lateral: Head.Laser.Lateral
Frequency: $DDSFrequencyOffset1
LockIn: ARC.Lockin
Height: output.Z
TipBias: $DDSDCOffset0
HeightLoop: PIDSloop.2
VerDate:120804.2604
Version:120804+2604
XopVersion:20121.31.37.0
OSVersion:Windows XP Professional Service Pack 3 (Build 2600)
IgorFileVersion:6.3.6.4
BaseName:Image
SkewAngleRead:89.99999 °
ImageNote:
TipSerialNumber:
:
Planefit 0: Flatten 1
PlanefitOrder 0: -1
FlattenOrder 0: 1
Planefit Offset 0: -2.8953e-06
Planefit X Slope 0: 0
Planefit Y Slope 0: 0
Flatten Offsets 0: -3.03670913e-06,-3.03419894e-06,-3.03231997e-06,-3.03053642e-06,-3.02895654e-06,-3.02771546e-06,-3.02650714e-06,-3.02461556e-06,-3.02299658e-06,-3.02160236e-06,-3.02008797e-06,-3.01917993e-06,-3.01785548e-06,-3.01647964e-06,-3.01457064e-06,-3.01269033e-06,-3.01143595e-06,-3.01034477e-06,-3.00894914e-06,-3.0078797e-06,-3.00773534e-06,-3.00744413e-06,-3.00668287e-06,-3.00522889e-06,-3.00323018e-06,-3.00104211e-06,-2.99943534e-06,-2.99846033e-06,-2.99758666e-06,-2.9966987e-06,-2.99576815e-06,-2.9947526e-06,-2.99340727e-06,-2.99212524e-06,-2.99107982e-06,-2.98974726e-06,-2.98854493e-06,-2.98713513e-06,-2.98591229e-06,-2.98441505e-06,-2.98368783e-06,-2.98282306e-06,-2.98241657e-06,-2.982123e-06,-2.98157777e-06,-2.98081808e-06,-2.97967092e-06,-2.97876074e-06,-2.9778732e-06,-2.97711695e-06,-2.97612314e-06,-2.97521497e-06,-2.97469933e-06,-2.97421503e-06,-2.97332453e-06,-2.97238978e-06,-2.97140179e-06,-2.97066477e-06,-2.97006758e-06,-2.96957393e-06,-2.9687927e-06,-2.96753584e-06,-2.96616772e-06,-2.9647298e-06,-2.96319916e-06,-2.96201495e-06,-2.96153876e-06,-2.96182121e-06,-2.96230421e-06,-2.96268363e-06,-2.96189616e-06,-2.96081612e-06,-2.95948462e-06,-2.95841665e-06,-2.9573282e-06,-2.95662133e-06,-2.95636834e-06,-2.95534285e-06,-2.95388334e-06,-2.9524816e-06,-2.95184806e-06,-2.95106773e-06,-2.95048784e-06,-2.95033473e-06,-2.94895029e-06,-2.94707946e-06,-2.94540148e-06,-2.94379928e-06,-2.9429969e-06,-2.94181515e-06,-2.94099309e-06,-2.94012554e-06,-2.93928863e-06,-2.93786238e-06,-2.93669337e-06,-2.93528134e-06,-2.93438106e-06,-2.93307446e-06,-2.93162852e-06,-2.93009775e-06,-2.92863956e-06,-2.92758563e-06,-2.92634134e-06,-2.92480742e-06,-2.922622e-06,-2.92022773e-06,-2.91804229e-06,-2.91566917e-06,-2.91344166e-06,-2.91072415e-06,-2.90877102e-06,-2.90665823e-06,-2.9048571e-06,-2.90340583e-06,-2.90206302e-06,-2.90055163e-06,-2.89850231e-06,-2.89686716e-06,-2.89491038e-06,-2.89356429e-06,-2.89173566e-06,-2.88949899e-06,-2.88765976e-06,-2.88591155e-06,-2.88471346e-06,-2.88308619e-06,-2.88204572e-06,-2.88071592e-06,-2.8789581e-06,-2.87684689e-06,-2.87528206e-06,-2.87404434e-06,-2.87268031e-06,-2.87126584e-06,-2.86954788e-06,-2.86797114e-06,-2.86668037e-06,-2.8661104e-06,-2.86490145e-06,-2.86377942e-06,-2.86265288e-06,-2.86188821e-06,-2.86084064e-06,-2.85929379e-06,-2.85811657e-06,-2.85698943e-06,-2.85650859e-06,-2.85570496e-06,-2.85472503e-06,-2.85468689e-06,-2.85498754e-06,-2.85462044e-06,-2.8541479e-06,-2.85328808e-06,-2.85201467e-06,-2.85134437e-06,-2.85100174e-06,-2.85090768e-06,-2.85118271e-06,-2.85125109e-06,-2.85086435e-06,-2.850042e-06,-2.85014089e-06,-2.85017249e-06,-2.85051316e-06,-2.85060988e-06,-2.85082636e-06,-2.850651e-06,-2.84976866e-06,-2.84908035e-06,-2.84847338e-06,-2.8479542e-06,-2.84769184e-06,-2.84805047e-06,-2.84868886e-06,-2.84884958e-06,-2.84876859e-06,-2.84877572e-06,-2.84830686e-06,-2.84698917e-06,-2.84597202e-06,-2.84497566e-06,-2.84363605e-06,-2.8423878e-06,-2.84092169e-06,-2.83888491e-06,-2.83740759e-06,-2.83632144e-06,-2.83523813e-06,-2.83486382e-06,-2.83391221e-06,-2.83276615e-06,-2.83167231e-06,-2.83058309e-06,-2.8294345e-06,-2.82817723e-06,-2.82720247e-06,-2.82636622e-06,-2.8255385e-06,-2.82439097e-06,-2.82333444e-06,-2.82227918e-06,-2.82098073e-06,-2.81940935e-06,-2.81788335e-06,-2.8166894e-06,-2.81525989e-06,-2.81362067e-06,-2.81223004e-06,-2.81092633e-06,-2.8095115e-06,-2.80745474e-06,-2.80566983e-06,-2.80527261e-06,-2.80469114e-06,-2.80358101e-06,-2.80215846e-06,-2.80111431e-06,-2.80056415e-06,-2.80024e-06,-2.80003968e-06,-2.80016822e-06,-2.80025787e-06,-2.79981558e-06,-2.79958816e-06,-2.7989615e-06,-2.79879249e-06,-2.79875519e-06,-2.79935831e-06,-2.79958883e-06,-2.80024662e-06,-2.80128018e-06,-2.80271463e-06,-2.80421704e-06,-2.80422793e-06,-2.80233522e-06,-2.80052277e-06,-2.79934881e-06,-2.79845748e-06,-2.79713278e-06,-2.79594283e-06,-2.79428444e-06,-2.79310314e-06,-2.79074333e-06,-2.78828432e-06,-2.78589479e-06,-2.78386975e-06,-2.78187084e-06,-2.78049621e-06,-2.77898932e-06,-2.77721312e-06,-2.77553807e-06,-2.77362927e-06,-2.77179502e-06,-2.77059224e-06,-2.76968368e-06,
Flatten Slopes 0: -0.0189338473,-0.0189738747,-0.0190137975,-0.0190551003,-0.0190574703,-0.0190616174,-0.019045828,-0.0190838479,-0.019077187,-0.0190796248,-0.0190990418,-0.0190955757,-0.0191129733,-0.0191329913,-0.0191566729,-0.0191635379,-0.0191581886,-0.0191621615,-0.0191895202,-0.0191643424,-0.0190800334,-0.0190467015,-0.0190247537,-0.0190205527,-0.0190320593,-0.0190690846,-0.0190926772,-0.0191120103,-0.0191321734,-0.0191340461,-0.0191190586,-0.019101001,-0.0191386834,-0.0191824881,-0.0191752518,-0.0191454087,-0.0191225094,-0.0191126175,-0.0191536734,-0.0191860787,-0.0191127999,-0.0190503612,-0.0188914499,-0.018683161,-0.0185231924,-0.0183544285,-0.0182229723,-0.0181224595,-0.0179967667,-0.0179345182,-0.017858959,-0.017799541,-0.01775794,-0.0177166346,-0.0176915215,-0.0176519349,-0.0176091959,-0.0175935247,-0.0175595654,-0.0175140374,-0.0174916382,-0.0174752633,-0.0174403275,-0.0174186709,-0.0173732865,-0.0173453401,-0.0172968399,-0.0172350624,-0.0172048316,-0.0171483834,-0.0171518516,-0.0171145801,-0.017065681,-0.0170111585,-0.016949392,-0.0169073349,-0.016820281,-0.0168042355,-0.0167643602,-0.0166987916,-0.0166421588,-0.0166232722,-0.0165744552,-0.0165139018,-0.016550552,-0.0165626621,-0.0166114871,-0.0166405861,-0.0166563706,-0.0167056749,-0.016724035,-0.0167578195,-0.016781089,-0.0168391689,-0.0168335034,-0.0168768495,-0.0169075582,-0.0169440782,-0.0169951567,-0.0170243785,-0.0170943211,-0.0171413124,-0.017188843,-0.017287697,-0.0173535406,-0.0174168024,-0.0175164426,-0.0176176181,-0.0177126318,-0.0178540213,-0.0179432769,-0.0180822656,-0.0182138493,-0.0183226039,-0.0184477662,-0.0185872719,-0.0187113805,-0.0188295238,-0.0189669387,-0.0190818666,-0.0191877142,-0.0193134299,-0.0194133977,-0.0195468204,-0.0196398627,-0.0197609099,-0.0198847226,-0.0199848829,-0.0201173142,-0.0201855892,-0.0202449427,-0.0202900834,-0.0203206344,-0.0203672418,-0.0204639359,-0.0205708563,-0.0206383429,-0.0207150892,-0.0207665526,-0.0207899939,-0.0208263807,-0.020832407,-0.0208560139,-0.0209039421,-0.0209030423,-0.0208851385,-0.0208995601,-0.0208823802,-0.0208654857,-0.0208158022,-0.0207785674,-0.0207599461,-0.0207098704,-0.0206619921,-0.0205789353,-0.0205098295,-0.0204317272,-0.0203340378,-0.0202166869,-0.0201202778,-0.0200202501,-0.0199190851,-0.0198023495,-0.019686134,-0.0195605179,-0.0194512055,-0.0193266543,-0.0191793993,-0.0190986479,-0.0189534229,-0.0188416458,-0.0187030825,-0.0186256734,-0.0185032895,-0.0184059021,-0.0183105352,-0.018186641,-0.0180791648,-0.0179906252,-0.0179385509,-0.0179016902,-0.0178606255,-0.0178334153,-0.0177958682,-0.0177798952,-0.0177728212,-0.0177467796,-0.0177320679,-0.0177401372,-0.0176844224,-0.017672896,-0.0176592884,-0.0176457443,-0.0176340024,-0.0176374066,-0.0176297062,-0.0176084425,-0.0176096824,-0.0175975504,-0.0176120176,-0.0176190239,-0.0176180414,-0.0176364947,-0.0176282789,-0.0176299758,-0.0176401346,-0.0176540278,-0.0176479661,-0.0176561653,-0.0176355755,-0.0176594194,-0.0176586427,-0.0176593495,-0.0176216848,-0.017645852,-0.0176672053,-0.0176213686,-0.0175731,-0.0175074051,-0.0174268754,-0.0173761697,-0.0173120492,-0.0172605602,-0.0172361744,-0.0171911315,-0.0171189755,-0.0170075505,-0.0169149131,-0.0167341882,-0.0165767886,-0.0163685511,-0.0161273941,-0.0159086249,-0.0156677821,-0.0155462408,-0.0155218029,-0.0155189999,-0.0155102872,-0.015531272,-0.0155645508,-0.0156083777,-0.0156498871,-0.0156629856,-0.015730807,-0.0158064823,-0.0158789767,-0.0159341024,-0.0159920176,-0.015996278,-0.0160350074,-0.0160649362,-0.0160881434,-0.0161125505,-0.0161208986,-0.0160745957,-0.0160398736,
Display Offset 0:0
Display Range 0:3.29999991777186e-08
ColorMap 0:Grays
Planefit 1: None
PlanefitOrder 1: -1
FlattenOrder 1: -1
Planefit Offset 1: 2.7983e-10
Planefit X Slope 1: 0
Planefit Y Slope 1: 0
Display Offset 1: 2.7983e-10
Display Range 1: 5.7e-10
ColorMap 1: Mud
Planefit 2: None
PlanefitOrder 2: -1
FlattenOrder 2: -1
Planefit Offset 2: 1.2792e-10
Planefit X Slope 2: 0
Planefit Y Slope 2: 0
Display Offset 2: 1.2792e-10
Display Range 2: 3e-10
ColorMap 2: Mud
Planefit 3: None
PlanefitOrder 3: -1
FlattenOrder 3: -1
Planefit Offset 3: 7.9524e-10
Planefit X Slope 3: 0
Planefit Y Slope 3: 0
Display Offset 3: 7.9524e-10
Display Range 3: 1.6e-09
ColorMap 3: Grays256
Planefit 4: None
PlanefitOrder 4: -1
FlattenOrder 4: -1
Planefit Offset 4: 9.2995
Planefit X Slope 4: 0
Planefit Y Slope 4: 0
Display Offset 4: 9.2995
Display Range 4: 198
ColorMap 4: Mud
Planefit 5: None
PlanefitOrder 5: -1
FlattenOrder 5: -1
Planefit Offset 5: 174.67
Planefit X Slope 5: 0
Planefit Y Slope 5: 0
Display Offset 5: 174.67
Display Range 5: 189.7
ColorMap 5: Mud
EndHeadTemp:30.8125 °C
EndScannerTemp:26.3125 °C
EndHeaterTemp:NaN °C
EndHeaterHumidity:NaN
FileName:Image0009.ibw

## slika12
ScanSize: 1.27e-05
FastScanSize: 1.27e-05
SlowScanSize: 1.27e-05
ScanRate: 0.42459
XOffset: 1.3393e-05
YOffset: 3.0803e-05
PointsLines: 256
ScanPoints: 256
ScanLines: 256
ScanAngle: 0
ImagingMode:PFM Mode
InvOLS: 1e-07
SpringConstant: 1
AmpInvOLS: 1.09e-07
FastRatio: 1
SlowRatio: 1
TopLine: 255
BottomLine: 0
ScanMode:Closed Loop
NapMode:Parm Swap
FMapScanTime: 4.6592
FMapScanPoints: 128
FMapScanLines: 128
FMapXYVelocity: 6.3488e-06
FMapBookWise: 0
Channel1DataType: 1
DataTypeSum: 15
PhaseOffset:40.8198453390942
PhaseOffset1:0
NapPhaseOffset: 143.31
VoltageParm: 0
NapParms: 2432
PreScanSetting: 0
OrcaOffset: 0
OrcaOffset2: 0
UserIn0Gain: 1
UserIn0Offset: 0
UserIn1Gain: 1
UserIn1Offset: 0
UserIn2Gain: 1
UserIn2Offset: 0
LateralGain: 1
LateralOffset: 0
Real Parms: End
Initial Parms: Start
Initial ScanSize: 1.27e-05
Initial FastScanSize: 1.27e-05
Initial SlowScanSize: 1.27e-05
Initial ScanRate: 0.42459
ScanSpeed: 1.3481e-05
Initial XOffset: 1.3393e-05
Initial YOffset: 3.0803e-05
Initial ScanPoints: 256
Initial ScanLines: 256
RoundFactor: 0.04
IntegralGain: 20.947
ProportionalGain: 0
Initial ScanAngle: 0
ScanAngleFactor: 1
AmplitudeSetpointVolts: 0.8
AmplitudeSetpointMeters: 1e-08
DriveAmplitude: 10
DriveFrequency: 3.1713e+05
SweepWidth: 1e+05
SlowScanEnabled: 1
DeflectionSetpointVolts: 0
DeflectionSetpointMeters: 0
DeflectionSetpointNewtons: 5e-09
Initial ImagingMode: 3
MaxScanSize: 9e-05
Initial InvOLS: 1e-07
Initial SpringConstant: 1
DisplaySpringConstant: 1e-09
ScanStateChanged: 0
ScanDown: 0
XLVDTSens: 7.7314e-06
YLVDTSens: 8.086e-06
ZLVDTSens: 1.3005e-06
XLVDTOffset: -0.21
YLVDTOffset: -0.43
ZLVDTOffset: 0
YIgain: 3.81
YPgain: -inf
XIgain: 3.74
XPgain: -inf
LastScan: 0
XPiezoSens: 4.7221e-07
YPiezoSens: 4.7843e-07
ZPiezoSens: 6.5785e-08
XDriveOffset: 0
YDriveOffset: 0
SweepPoints: 480
SecretGain: 0
YSgain: 5.8031
XSgain: 5.8031
DIsplayLVDTTraces: 0
Initial PhaseOffset: 40.82
BaseSuffix: 12
SaveImage: 2
ParmChange: 0
ADCgain: 0
OldADCgain: 12
OldScanSize: NaN
OldYOffset: 3.0803e-05
OldXOffset: 1.3393e-05
ZIgain: 4.26
ZPgain: -inf
ZSgain: 0
Initial AmpInvOLS: 1.09e-07
UpdateCounter: 106
DoMunge: 0
XMungeAlpha: 1
YMungeAlpha: 1
ZMungeAlpha: 1
StartHeadTemp: 31.5 °C
StartScannerTemp: 26.938 °C
Has1xACDeflGain: 0
DontChangeXPT: 0
LowNoise: 1
ScreenRatio: 0.75
XDriftRate: 0
YDriftRate: 0
XDriftTotal: 0
YDriftTotal: 0
DriftBIts: 0
DriftCount: 0
Setpoint: 0
Initial FastRatio: 1
Initial SlowRatio: 1
Initial TopLine: 255
Initial BottomLine: 0
ScanStatus: 1
Is1DPlus: 0
DelayUpdate: 4
MarkerRatio: 0
StartLineCount: 0
OldAmplitudeSetpointVolts: 0.8
OldDeflectionSetPointVolts: 0
Initial ScanMode: 0
Interpolate: -1248
TipVoltage: 0
SurfaceVoltage: 0
FreqIgain: 5
FreqPgain: 0
FreqSgain: 0
OrcaGain: NaN
FreqGainOn: 0
Initial UserIn0Gain: 1
Initial UserIn1Gain: 1
Initial UserIn2Gain: 1
Initial LateralGain: 1
IsBipolar: 0
FrequencyHack: 0
MagneticField: NaN
DriveGainOn: 0
DriveIGain: 50
DrivePGain: 0
DriveSGain: 0
Initial UserIn0Offset: 0
Initial UserIn1Offset: 0
Initial UserIn2Offset: 0
Initial LateralOffset: 0
LastImage: 0
ZoomSize: 0
ZoomXOffset: 1.3393e-05
ZoomYOffset: 3.0803e-05
User0Voltage: 0
User1Voltage: 0
ExtendedZ: 0
DriveAmplitude1: 0.1
DriveFrequency1: 4.5e+05
SweepWidth1: 5000
Initial PhaseOffset1: 0
Amp2InvOLS: 2e-08
Initial VoltageParm: 0
MicroscopeID: 3
CapacitanceSens: 1
CapacitanceOffset: 0
CapPhaseOffset: 0
TipBiasOffset: 0
TipHeaterOffset: 0
SurfaceBiasOffset: 0
UseCantHolder: 0
CurrentCantHolder: 21
HasClickRing: 1
XScanDirection: 1
YScanDirection: 1
SaveImageCount: 0
SaveImageLines: 256
OrcaGain2: NaN
UpdateSlowWave: 0
FBFilterBW: 5000
CurrentSetpointAmps: 1
CurrentSetpointVolts: 1
OldCurrentSetpointVolts: 1
OldCurrentSetpointAmps: 1
HasFM: 1
LastScanWithdraw: 0
HasLaserRelay: 1
ToggleLaserRelay: 0
Decimation: 149
DARTIGain: 5.5
DARTPGain: 0
SampleHolder: 1
ManualSampleHolder: 0
CypherXPTLock: 0
XPTLock: 0
LogFeedback: 0
ARSysScanBusy: 0
SimpleControls: 0
Initial PointsLines: 256
FreeAirAmplitude: 0
FreeAirPhase: 0
FreeAirDeflection: 0
FreeAirDriveAmplitude: 0
ContinualRetune: 0
ForceFilter: 0
TemperatureSens: 1
TemperatureOffset: 0
OffsetBehavior: 0
InputRange: 1
XLVDTSensSlope: 0
YLVDTSensSlope: 0
XLVDTSensIntercept: 0
YLVDTSensIntercept: 0
HaveWeKilledTheProgressBar: 1
Initial PreScanSetting: 0
ImageFrameTime: 0
FBFilterSelectivity: 1
HasDriveChoke: 0
DriveChokeOn: 0
CFCWFOS: 0
SkewAngle: 0
ContinualRetuneTime: 60
DRTimeStamp: 0
CRTimeStamp: 0
Cypher15VPower: 0
HasBlueDrive: 0
BlueDriveOn: 0
blueDriveOffset: 5
blueDriveMinOffset: 3
bDDriveAmplitude: 0.002
bDDriveAmplitude1: 0.002
bDDiffEfficiencyV: 0.004475
bdReCalibrateTime: 1
GetStartedRoughness: 3
GetStartedOn: 0
bdMotorError: 0
ScanModeGUI: 0
FastMapScanPoints: 256
FastMapScanLines: 256
FastMapOptScanPoints: 256
FastMapOptScanLines: 256
GSGainGain: 1
GSSetpointPercent: 50
GSHardness: 0
GSLeverRange: 0
GetStartedMorePanel: 0
GSUseManualThermal: 0
ImageSaveExpand: 0
FreqDGain: 0
DriveDGain: 0
GSMotorHeight: 0
GSStickySample: 0
LastThreadHandle: 87
StartHeaterTemp:NaN °C
StartHeaterHumidity:NaN
MicroscopeModel:MFP3D
Initial Parms: End
NapIntegralGain: 10
NapProportionalGain: 0
NapDeflectionSetpointVolts: 0
NapAmplitudeSetpointVolts: 0.8
NapDissipationSetpointVolts: 0.2
NapFrequencySetPointHz: 0
NapCurrentSetpointAmps: 1
NapDriveAmplitude: 10
NapDriveFrequency: 3.1713e+05
NapDriveAmplitude1: 0.1
NapDriveFrequency1: 4.2e+05
NapPhaseOffset: 143.31
NapTipVoltage: 0
NapSurfaceVoltage: 0
NapUser0Voltage: 0
NapUser1Voltage: 0
NapHeight: 5e-08
NapStartHeight: 0
NapTime: 0.10016
NapMode: 2
NapParms: 2432
PotentialIGain: 3
PotentialPGain: 0
PotentialGainOn: 0
ElectricTune: 0
NapCurrentSetpointVolts: 1
PotentialLoopLimit: 0
ClosedNap: 0
NapZIGain: 10
NapZPGain: 0
AutoNapZGain: 1
bDNapDriveAmplitude: 0.002
bDNapDriveAmplitude1: 0.002
Channel1DataType: 1
Channel2DataType: 2
Channel3DataType: 4
Channel4DataType: 3
Channel5DataType: 0
Channel6DataType: 0
Channel7DataType: 0
Channel8DataType: 0
DataTypeSum: 15
Channel1Show: 2
Channel2Show: 2
Channel3Show: 2
Channel4Show: 2
Channel5Show: 2
Channel6Show: 2
ChannelShowSum: 7
RealPlanefit: 2
SavePlanefit: 0
HeightCapture: 2
Height1DataScale: 4e-08
Height1DataOffset: -0
Height1RealPlanefit: 2
Height1SavePlanefit: 4
Height1ColorMap: 9
Height2DataScale: 5e-08
Height2DataOffset: 0
Height2RealPlanefit: 2
Height2SavePlanefit: 2
Height2ColorMap: 1
DeflectionCapture: 2
Deflection1DataScale: 1.3e-09
Deflection1DataOffset: 0
Deflection1RealPlanefit: 1
Deflection1SavePlanefit: 0
Deflection1ColorMap: 1
Deflection2DataScale: 1e-08
Deflection2DataOffset: 0
Deflection2RealPlanefit: 2
Deflection2SavePlanefit: 2
Deflection2ColorMap: 1
AmplitudeCapture: 2
Amplitude1DataScale: 1.2e-09
Amplitude1DataOffset: 0
Amplitude1RealPlanefit: 1
Amplitude1SavePlanefit: 0
Amplitude1ColorMap: 9
Amplitude2DataScale: 2e-08
Amplitude2DataOffset: 0
Amplitude2RealPlanefit: 1
Amplitude2SavePlanefit: 2
Amplitude2ColorMap: 1
ZSensorCapture: 2
ZSensor1DataScale: 1e-07
ZSensor1DataOffset: 0
ZSensor1RealPlanefit: 4
ZSensor1SavePlanefit: 2
ZSensor1ColorMap: 1
ZSensor2DataScale: 60
ZSensor2DataOffset: 0
ZSensor2RealPlanefit: 2
ZSensor2SavePlanefit: 2
ZSensor2ColorMap: 1
PhaseCapture: 2
Phase1DataScale: 186.8
Phase1DataOffset: 5
Phase1RealPlanefit: 0
Phase1SavePlanefit: 0
Phase1ColorMap: 29
Phase2DataScale: 60
Phase2DataOffset: 0
Phase2RealPlanefit: 2
Phase2SavePlanefit: 2
Phase2ColorMap: 1
OffCapture: 2
Off1DataScale: 1
Off1DataOffset: 0
Off1RealPlanefit: 2
Off1SavePlanefit: 2
Off1ColorMap: 9
Off2DataScale: 0
Off2DataOffset: 0
Off2ColorMap: 1
UserIn1Capture: 2
UserIn11DataScale: 1
UserIn11DataOffset: 0
UserIn11RealPlanefit: 0
UserIn11SavePlanefit: 0
UserIn11ColorMap: 1
UserIn12DataScale: 1
UserIn12DataOffset: 0
UserIn12RealPlanefit: 2
UserIn12SavePlanefit: 2
UserIn12ColorMap: 1
UserIn2Capture: 2
UserIn21DataScale: 1
UserIn21DataOffset: 0
UserIn21RealPlanefit: 0
UserIn21SavePlanefit: 0
UserIn21ColorMap: 1
UserIn22DataScale: 1
UserIn22DataOffset: 0
UserIn22RealPlanefit: 2
UserIn22SavePlanefit: 2
UserIn22ColorMap: 1
UserIn0Capture: 2
UserIn01DataScale: 1
UserIn01DataOffset: 0
UserIn01RealPlanefit: 0
UserIn01SavePlanefit: 0
UserIn01ColorMap: 1
UserIn02DataScale: 1
UserIn02DataOffset: 0
UserIn02RealPlanefit: 2
UserIn02SavePlanefit: 2
UserIn02ColorMap: 1
InputICapture: 2
InputI1DataScale: 1
InputI1DataOffset: 0
InputI1RealPlanefit: 0
InputI1SavePlanefit: 0
InputI1ColorMap: 1
InputI2DataScale: 1
InputI2DataOffset: 0
InputI2RealPlanefit: 2
InputI2SavePlanefit: 2
InputI2ColorMap: 1
InputQCapture: 2
InputQ1DataScale: 1
InputQ1DataOffset: 0
InputQ1RealPlanefit: 0
InputQ1SavePlanefit: 0
InputQ1ColorMap: 1
InputQ2DataScale: 1
InputQ2DataOffset: 0
InputQ2RealPlanefit: 2
InputQ2SavePlanefit: 2
InputQ2ColorMap: 1
LateralCapture: 2
Lateral1DataScale: 0.01
Lateral1DataOffset: 0
Lateral1RealPlanefit: 1
Lateral1SavePlanefit: 0
Lateral1ColorMap: 1
Lateral2DataScale: 1
Lateral2DataOffset: 0
Lateral2RealPlanefit: 2
Lateral2SavePlanefit: 2
Lateral2ColorMap: 1
FrequencyCapture: 0
Frequency1DataScale: 1
Frequency1DataOffset: 0
Frequency1RealPlanefit: 0
Frequency1SavePlanefit: 0
Frequency1ColorMap: 1
Frequency2DataScale: 1
Frequency2DataOffset: 0
Frequency2RealPlanefit: 2
Frequency2SavePlanefit: 2
Frequency2ColorMap: 1
CurrentCapture: 2
Current1DataScale: 1e-09
Current1DataOffset: 0
Current1RealPlanefit: 0
Current1SavePlanefit: 0
Current1ColorMap: 1
Current2DataScale: 1e-09
Current2DataOffset: 0
Current2RealPlanefit: 2
Current2SavePlanefit: 2
Current2ColorMap: 1
Current2Capture: 2
Current21DataScale: 1e-06
Current21DataOffset: 0
Current21RealPlanefit: 0
Current21SavePlanefit: 0
Current21ColorMap: 1
Current22DataScale: 1e-06
Current22DataOffset: 0
Current22RealPlanefit: 0
Current22SavePlanefit: 0
Current22ColorMap: 1
UserCalcCapture: 2
UserCalc1DataScale: 1
UserCalc1DataOffset: 0
UserCalc1RealPlanefit: 0
UserCalc1SavePlanefit: 0
UserCalc1ColorMap: 1
UserCalc2DataScale: 1
UserCalc2DataOffset: 0
UserCalc2RealPlanefit: 2
UserCalc2SavePlanefit: 2
UserCalc2ColorMap: 1
CountCapture: 2
Count1DataScale: 1
Count1DataOffset: 0
Count1RealPlanefit: 0
Count1SavePlanefit: 0
Count1ColorMap: 1
Count2DataScale: 1
Count2DataOffset: 0
Count2RealPlanefit: 2
Count2SavePlanefit: 2
Count2ColorMap: 1
PotentialCapture: 0
Potential1DataScale: 1
Potential1DataOffset: 0
Potential1RealPlanefit: 0
Potential1SavePlanefit: 0
Potential1ColorMap: 1
Potential2DataScale: 1
Potential2DataOffset: 0
Potential2RealPlanefit: 2
Potential2SavePlanefit: 2
Potential2ColorMap: 1
Amplitude1Capture: 2
Amplitude11DataScale: 2e-08
Amplitude11DataOffset: 0
Amplitude11RealPlanefit: 1
Amplitude11SavePlanefit: 0
Amplitude11ColorMap: 9
Amplitude12DataScale: 2e-08
Amplitude12DataOffset: 0
Amplitude12RealPlanefit: 1
Amplitude12SavePlanefit: 2
Amplitude12ColorMap: 1
Amplitude2Capture: 2
Amplitude21DataScale: 2e-08
Amplitude21DataOffset: 0
Amplitude21RealPlanefit: 1
Amplitude21SavePlanefit: 0
Amplitude21ColorMap: 9
Amplitude22DataScale: 2e-08
Amplitude22DataOffset: 0
Amplitude22RealPlanefit: 1
Amplitude22SavePlanefit: 2
Amplitude22ColorMap: 1
Phase1Capture: 2
Phase11DataScale: 60
Phase11DataOffset: 90
Phase11RealPlanefit: 0
Phase11SavePlanefit: 0
Phase11ColorMap: 9
Phase12DataScale: 60
Phase12DataOffset: 0
Phase12RealPlanefit: 2
Phase12SavePlanefit: 2
Phase12ColorMap: 1
Phase2Capture: 2
Phase21DataScale: 60
Phase21DataOffset: 90
Phase21RealPlanefit: 0
Phase21SavePlanefit: 0
Phase21ColorMap: 9
Phase22DataScale: 60
Phase22DataOffset: 0
Phase22RealPlanefit: 2
Phase22SavePlanefit: 2
Phase22ColorMap: 1
Channel1Scope: 3
Channel2Scope: 3
Channel3Scope: 3
Channel4Scope: 3
Channel5Scope: 3
Channel6Scope: 3
Channel7Scope: 3
Channel8Scope: 3
Channel1Auto: 1
Channel2Auto: 1
Channel3Auto: 1
Channel4Auto: 1
Channel5Auto: 1
Channel6Auto: 1
Channel7Auto: 1
Channel8Auto: 1
Channel1AutoImg: NaN
Channel2AutoImg: NaN
Channel3AutoImg: 0
Channel4AutoImg: NaN
Channel5AutoImg: 1
Channel6AutoImg: 1
Channel7AutoImg: 1
Channel8AutoImg: 1
UserCalcFunc: 2
UserCalcBFunc: 3
DissipationCapture: 2
Dissipation1DataScale: 0.1
Dissipation1DataOffset: 0
Dissipation1RealPlanefit: 1
Dissipation1SavePlanefit: 0
Dissipation1ColorMap: 1
Dissipation2DataScale: 1
Dissipation2DataOffset: 0
Dissipation2RealPlanefit: 2
Dissipation2SavePlanefit: 2
Dissipation2ColorMap: 1
FixOffset: 0
UserCalcBCapture: 2
UserCalcB1DataScale: 1e-09
UserCalcB1DataOffset: 0
UserCalcB1RealPlaneFit: 0
UserCalcB1SavePlaneFit: 0
UserCalcB1ColorMap: 9
Count2Capture: 2
Count21DataScale: 5
Count21DataOffset: 0
Count21RealPlaneFit: 0
Count21SavePlaneFit: 0
Count21ColorMap: 9
InA: FilterOut
InB: Ground
InFast: ACDefl
InAOffset: Ground
InBOffset: Ground
InFastOffset: Ground
OutXMod: Off
OutYMod: Off
OutZMod: Off
FilterIn: Defl
BNCOut0: DDS
BNCOut1: Ground
BNCOut2: Ground
PogoOut: Ground
Chip: Ground
Shake: Ground
Input.Z.Filter.Freq: 2000
Input.X.Filter.Freq: 1000
Input.Y.Filter.Freq: 1000
Input.A.Filter.Freq: 2000
Input.B.Filter.Freq: 2000
Input.Fast.Filter.Freq: 1500
Lockin.0.Filter.Freq: 1000
Lockin.1.Filter.Freq: 1000
ThermalDC: 1e-14
ThermalQ: 20
ThermalFrequency: 3e+05
ThermalWhiteNoise: 5e-15
ScaleLog: 3
FitWidth: 20000
ThermalSamples: 1000
ThermalCounter: 0
SectionSamples: 10
SectionCounter: 0
DoThermal: 0
ThermalResolution: 4
ThermalZoom: 0
DoCantTune: 0
ZoomCounter: 200
AutoTuneLow: 50000
AutoTuneHigh: 4e+05
TargetVoltage: 1
TargetPercent: 0
CheckTuneTraces: 0
ButtonTime: 1.0155e+09
ShowThermalFit: 0
AppendThermalBit: 8
TuneQ: 100
TuneGain: 0
TunePeakResult: 0.034137
TuneFreqResult: 3.1671e+05
TuneQResult: 48.209
ThermalSamplesLimit: 0
TuneFeedback: 0
TuneDDSOutput: 0
TipVoltCenter: 0
TipVoltWidth: 10
ThermalFrequencyRange: 1
AutoTuneLimit: 0
AutoTuneLow1: 1.5e+06
AutoTuneHigh1: 2e+06
TargetVoltage1: 0.1
TargetPercent1: 0
DualACMode: 0
WhichACMode: 0
BackwardsTune: 0
TuneCaptureRate: 500
TuneTime: 0.96
TuneFilter: 500
iDriveOn: 0
FrequencyRatio: 1.419
DFRTFrequencyCenter: 3.8356e+05
DFRTFrequencyWidth: 1.3287e+05
DFRTOn: 0
ThermalCenter: 3e+05
ThermalWidth: 30000
DFWMAMT: 0
LastXPos: 0
LastYPos: 0
PFMFrequencyLimit: inf
TuneLockin: 0
TipHeaterDrive: 0
AdjustSpringConstant: 1
DrawThermalFit: 0
LateralTune: 0
ThermalTemperature: 298
UseCypherThermal: 0
UseCypherMultiThread: 0
Illumination: 0
ARCZ: 1
TuneAngle: -90
IsDefaultFrequency: 0
TargetAmplitude: 0
TargetPhase: 90
LossTanAmp1: 0.034047
LossTanPhase1: 76.536
LossTanAmp2: 0.024734
LossTanPhase2: -0.33508
LossTanFreq1: 3.1713e+05
LossTanFreq2: 0
LossTanQ1: 48.209
LossTanQ2: 0
SecondFrequency: 0
TryFitAgain: 0
HighFrequencyMode: 0
ThermalLever: 0
DoSader: 0
CustomLeverLength: 0.00024
CustomLeverWidth: 3e-05
CustomLeverFrequency: 70000
ResFreq1: 0
ResFreq2: 0
YourVariablesStartHere: 0
Log File:Start
Log File:Stop
Date:2015-01-08
Time:15:10:03
Seconds:3503574603.593
UserCalcUnit: °
UserIn0Unit: V
UserIn1Unit: V
UserIn2Unit: V
LateralUnit: V
ARUserPanelName:
UserIn0Name:
UserIn1Name:
UserIn2Name:
UserCalcName:
UserIn0Ab:
UserIn1Ab:
UserIn2Ab:
UserCalcAb:
UserIn0Force:
UserIn1Force:
UserIn2Force:
UserCalcForce:
SaveImage: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:8.1.2014:
SaveForce: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:8.1.2014:
LastSaveImage: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:8.1.2014:
LastSaveForce: C:Documents and Settings:MFP3D:My Documents:MFP3D Data:Hana:Tadej:2BFM-20-s820-20h-z-s840-10h:8.1.2014:
NavLoadPath:
LastNavLoadPath:
UserCalcBUnit:
UserCalcBName:
UserCalcBForce:
UserCalcBAb:
DetectorSum: Head.Laser.Sum
XSensor: Input.X
YSensor: Input.Y
ZSensor: Input.Z
DDSAmplitude0: $Lockin.0.Amp
DDSDCOffset0: $Lockin.DCOffset
DDSFrequency0: $Lockin.0.Freq
DDSFrequencyOffset0: $Lockin.0.FreqOffset
DDSPhaseOffset0: $Lockin.0.PhaseOffset
DDSAmplitude1: $Lockin.1.Amp
DDSFrequency1: $Lockin.1.Freq
DDSPhaseOffset1: $Lockin.1.PhaseOffset
Amplitude: $Lockin.0.r
Phase: $Lockin.0.theta
Inputi: $Lockin.0.i
Inputq: $Lockin.0.q
Inputi1: $Lockin.1.i
Inputq1: $Lockin.1.q
Count: Input.Counter0
Count2: Input.Counter1
Potential: $DDSDCOffset0
Amplitude1: $Lockin.1.r
Phase1: $Lockin.1.theta
DDSQGain0: $Lockin.0.QGain
DDSQAngle0: $Lockin.0.QAngle
DDSFrequencyOffset1: $Lockin.1.FreqOffset
Deflection: Input.A
Lateral: Head.Laser.Lateral
Frequency: $DDSFrequencyOffset1
LockIn: ARC.Lockin
Height: output.Z
TipBias: $DDSDCOffset0
HeightLoop: PIDSloop.2
VerDate:120804.2604
Version:120804+2604
XopVersion:20121.31.37.0
OSVersion:Windows XP Professional Service Pack 3 (Build 2600)
IgorFileVersion:6.3.6.4
BaseName:Image
SkewAngleRead:89.99999 °
ImageNote:
TipSerialNumber:
:
Planefit 0: Flatten 1
PlanefitOrder 0: -1
FlattenOrder 0: 1
Planefit Offset 0: -1.7667e-06
Planefit X Slope 0: 0
Planefit Y Slope 0: 0
Flatten Offsets 0: -1.85389199e-06,-1.85340812e-06,-1.85253863e-06,-1.85271949e-06,-1.85238094e-06,-1.8517082e-06,-1.85203055e-06,-1.85083194e-06,-1.84952656e-06,-1.84876942e-06,-1.84788497e-06,-1.84664137e-06,-1.84506879e-06,-1.84534804e-06,-1.84677282e-06,-1.84601707e-06,-1.84536732e-06,-1.84495911e-06,-1.84267985e-06,-1.84108072e-06,-1.83978508e-06,-1.83877647e-06,-1.8372514e-06,-1.83639536e-06,-1.83616942e-06,-1.83567117e-06,-1.83422374e-06,-1.83222296e-06,-1.83034642e-06,-1.82989651e-06,-1.8294737e-06,-1.82824724e-06,-1.82659412e-06,-1.82614379e-06,-1.82552689e-06,-1.82480923e-06,-1.82374901e-06,-1.82172754e-06,-1.8217364e-06,-1.82151408e-06,-1.82107643e-06,-1.82073974e-06,-1.820024e-06,-1.81981998e-06,-1.81971181e-06,-1.81869263e-06,-1.81829373e-06,-1.81777311e-06,-1.81642295e-06,-1.81598635e-06,-1.81675624e-06,-1.81755717e-06,-1.81853015e-06,-1.81887444e-06,-1.82014817e-06,-1.8209616e-06,-1.82226411e-06,-1.82351869e-06,-1.82109952e-06,-1.81802735e-06,-1.81714275e-06,-1.81812831e-06,-1.8185199e-06,-1.81762862e-06,-1.81732583e-06,-1.81588935e-06,-1.81508346e-06,-1.81469888e-06,-1.81235855e-06,-1.81177083e-06,-1.8112261e-06,-1.81007196e-06,-1.80816176e-06,-1.80641674e-06,-1.80400252e-06,-1.79962537e-06,-1.79525407e-06,-1.79433429e-06,-1.79334244e-06,-1.79148856e-06,-1.78988305e-06,-1.78840027e-06,-1.7869968e-06,-1.78637318e-06,-1.78607851e-06,-1.78587312e-06,-1.78419996e-06,-1.78122397e-06,-1.78047293e-06,-1.78110509e-06,-1.78101919e-06,-1.78053948e-06,-1.77906362e-06,-1.77658825e-06,-1.77571809e-06,-1.77529539e-06,-1.7742981e-06,-1.77337878e-06,-1.77157544e-06,-1.77044415e-06,-1.76954217e-06,-1.76885774e-06,-1.76764003e-06,-1.76679956e-06,-1.76659544e-06,-1.76609641e-06,-1.76564707e-06,-1.76567116e-06,-1.76439695e-06,-1.76404551e-06,-1.76237177e-06,-1.76155247e-06,-1.76003061e-06,-1.75884476e-06,-1.75826742e-06,-1.75753385e-06,-1.75780693e-06,-1.7577313e-06,-1.75666029e-06,-1.75528501e-06,-1.75486402e-06,-1.75548933e-06,-1.75699108e-06,-1.75796062e-06,-1.7577525e-06,-1.75649912e-06,-1.75594974e-06,-1.75573214e-06,-1.75738801e-06,-1.75721068e-06,-1.75678796e-06,-1.75499174e-06,-1.75388583e-06,-1.7545892e-06,-1.75539365e-06,-1.75527405e-06,-1.754637e-06,-1.75416643e-06,-1.7542904e-06,-1.75413486e-06,-1.75210392e-06,-1.74965258e-06,-1.74758916e-06,-1.74504593e-06,-1.74375943e-06,-1.74224773e-06,-1.74100257e-06,-1.73925982e-06,-1.7374325e-06,-1.7371537e-06,-1.73791268e-06,-1.73699752e-06,-1.73640937e-06,-1.73688782e-06,-1.73704908e-06,-1.73631901e-06,-1.73599672e-06,-1.7358335e-06,-1.73629706e-06,-1.7359337e-06,-1.73588333e-06,-1.73752809e-06,-1.73877375e-06,-1.73933334e-06,-1.73928788e-06,-1.73848049e-06,-1.73810538e-06,-1.73787332e-06,-1.73705588e-06,-1.73673571e-06,-1.73690663e-06,-1.73707471e-06,-1.73669546e-06,-1.7356023e-06,-1.73556604e-06,-1.73627974e-06,-1.73606058e-06,-1.73613063e-06,-1.7369081e-06,-1.73811412e-06,-1.73653901e-06,-1.73424142e-06,-1.73303986e-06,-1.73230791e-06,-1.73153754e-06,-1.7311462e-06,-1.72995056e-06,-1.72937206e-06,-1.72894298e-06,-1.72800614e-06,-1.72694584e-06,-1.72587244e-06,-1.72534388e-06,-1.72545829e-06,-1.72560787e-06,-1.72521011e-06,-1.72486814e-06,-1.72407992e-06,-1.72313848e-06,-1.72168908e-06,-1.72137493e-06,-1.72142992e-06,-1.72183031e-06,-1.72319743e-06,-1.72404402e-06,-1.725059e-06,-1.72489544e-06,-1.72586347e-06,-1.72667201e-06,-1.72530091e-06,-1.72439322e-06,-1.72337751e-06,-1.72290143e-06,-1.72141854e-06,-1.7207784e-06,-1.72015001e-06,-1.71986082e-06,-1.72001128e-06,-1.72049764e-06,-1.71902077e-06,-1.71807401e-06,-1.71769637e-06,-1.71782428e-06,-1.71709721e-06,-1.71571739e-06,-1.71473277e-06,-1.71457925e-06,-1.71514259e-06,-1.71499458e-06,-1.71568923e-06,-1.71562965e-06,-1.71525732e-06,-1.71478661e-06,-1.71334002e-06,-1.71278086e-06,-1.71245871e-06,-1.71221597e-06,-1.71197373e-06,-1.71095123e-06,-1.70942981e-06,-1.70877376e-06,-1.70947589e-06,-1.70980198e-06,-1.70971978e-06,-1.70891628e-06,-1.70837648e-06,-1.70799238e-06,-1.70791281e-06,-1.70820257e-06,-1.70745159e-06,-1.70618381e-06,-1.70509911e-06,-1.70469768e-06,-1.7043714e-06,-1.70379129e-06,-1.70263516e-06,
Flatten Slopes 0: 0.0373042439,0.0372496962,0.0372298625,0.0372220067,0.0371730609,0.0371519343,0.037143122,0.03711663,0.0370946363,0.0370872357,0.0370778717,0.0370207276,0.0369958804,0.0370159256,0.0369906473,0.0369220084,0.0369031118,0.0368598161,0.0368109637,0.036798132,0.0367670186,0.0367354505,0.036699656,0.0367009595,0.0366566083,0.0366221386,0.0366065905,0.0365543551,0.0365390707,0.0365160696,0.0364642153,0.0363839844,0.0363587961,0.03631908,0.0362845467,0.0362587327,0.0362151549,0.0361833929,0.0361811049,0.0361302104,0.0360992361,0.0360746556,0.0360611985,0.0360615022,0.0360663274,0.0360465596,0.0360446813,0.0360341323,0.0360296929,0.0360696495,0.0361243199,0.0361940574,0.0363312333,0.0365143097,0.0367992329,0.0369999183,0.0372676539,0.0374683592,0.0371697064,0.0368637367,0.0367514093,0.0367844753,0.0368897978,0.0370550425,0.0372262182,0.0372239761,0.0372301661,0.0372032896,0.0371547727,0.0371701533,0.0371518491,0.037078196,0.0369168698,0.0367883713,0.0364982686,0.0360197276,0.0356429706,0.0354549666,0.0352849891,0.0351778708,0.0350942381,0.0350435388,0.0349769072,0.0349755014,0.0349382341,0.0348877305,0.0348039563,0.0347660298,0.0347622202,0.0347133532,0.034634356,0.0345754983,0.0344613402,0.034365589,0.0342630495,0.0341255689,0.0340409638,0.0339635495,0.0338927342,0.0338016094,0.033734076,0.0336721202,0.0336268517,0.0336351619,0.0336246541,0.0336175135,0.0336022242,0.0336131528,0.0335819157,0.0335962759,0.0335817192,0.0335855318,0.0335710975,0.0335795619,0.0335454891,0.0335406187,0.0335409551,0.0335323722,0.0335384017,0.0335553274,0.0336042995,0.03365814,0.0337328945,0.0337907367,0.0338345341,0.0339135265,0.0339980186,0.0340689319,0.0341438449,0.0341565474,0.0342106215,0.0342464318,0.0343304288,0.0344299146,0.0344979295,0.0345480682,0.0346234899,0.0346779416,0.0347170719,0.0346293322,0.0344740508,0.0342921086,0.0341082729,0.0339117973,0.0337039373,0.0334911547,0.033317276,0.0331201691,0.0329402669,0.0328434528,0.032869679,0.0329161735,0.0329932956,0.0331018093,0.0332004793,0.0332965146,0.0334160857,0.0335667733,0.0337329352,0.0339474465,0.0341794986,0.0343678504,0.0345094965,0.0346641207,0.0347553749,0.0348935122,0.0349733744,0.0350492274,0.0351052865,0.0351218793,0.0350948318,0.0350886926,0.0350490115,0.0350252882,0.0350343518,0.0350418323,0.0350073727,0.0349935563,0.0350073492,0.03497192,0.0348985171,0.0348514585,0.034805935,0.0347481312,0.0346715591,0.0346348739,0.0345457023,0.0345377394,0.0344842628,0.0344422064,0.0343966443,0.0343338004,0.0343111294,0.0343185176,0.0343108929,0.0342540906,0.0342475987,0.0342612158,0.0342627877,0.0342449147,0.0342842704,0.0343548981,0.0344898171,0.0346603814,0.0349361019,0.035402826,0.0355457314,0.0356329416,0.0356490575,0.0356970579,0.0357639023,0.0358413209,0.0358916817,0.0359428193,0.0359930514,0.036023757,0.0360738071,0.0361139077,0.0361656186,0.0361542638,0.03619831,0.0362080754,0.0362360313,0.0362212671,0.0362348744,0.0362544436,0.0363011284,0.0363116586,0.036305212,0.0363227574,0.0363076584,0.0363135958,0.0363454245,0.0363511873,0.0363487844,0.0363105398,0.0363181275,0.0362941478,0.036293038,0.0362766563,0.0362934729,0.0362788226,0.0362432962,0.036197352,0.0361301283,0.0361001097,0.0360460885,0.036001845,0.0359569101,0.0359187169,0.0358396259,0.0357518752,0.0356794718,0.0355781758,0.0355042547,0.0354109021,
Display Offset 0: 0
Display Range 0: 4e-08
ColorMap 0: Grays256
Planefit 1: None
PlanefitOrder 1: -1
FlattenOrder 1: -1
Planefit Offset 1: 6.7845e-10
Planefit X Slope 1: 0
Planefit Y Slope 1: 0
Display Offset 1: 6.7845e-10
Display Range 1: 1.2e-09
ColorMap 1: Mud
Planefit 2: None
PlanefitOrder 2: -1
FlattenOrder 2: -1
Planefit Offset 2: 1.0811e-10
Planefit X Slope 2: 0
Planefit Y Slope 2: 0
Display Offset 2: 1.0811e-10
Display Range 2: 1.8e-10
ColorMap 2: Mud
Planefit 3: None
PlanefitOrder 3: -1
FlattenOrder 3: -1
Planefit Offset 3: -3.4037e-10
Planefit X Slope 3: 0
Planefit Y Slope 3: 0
Display Offset 3: -3.4037e-10
Display Range 3: 1.3e-09
ColorMap 3: Grays256
Planefit 4: None
PlanefitOrder 4: -1
FlattenOrder 4: -1
Planefit Offset 4: 4.1622
Planefit X Slope 4: 0
Planefit Y Slope 4: 0
Display Offset 4: 4.1622
Display Range 4: 186.8
ColorMap 4: Mud
Planefit 5: None
PlanefitOrder 5: -1
FlattenOrder 5: -1
Planefit Offset 5: 191.36
Planefit X Slope 5: 0
Planefit Y Slope 5: 0
Display Offset 5: 191.36
Display Range 5: 151.8
ColorMap 5: Mud
EndHeadTemp:31.5 °C
EndScannerTemp:27 °C
EndHeaterTemp:NaN °C
EndHeaterHumidity:NaN
FileName:Image0012.ibw